## SWM Data
STORMWATER MANAGEMENT DATA
Project Table for Each Drainage Area
Permit Number
Project Number
Project Name
StructureAddress
Structure City
State
Structure Zip
Total Drainage Area (Acres)
RCN - Pre Construction
RCN - Post Construction
RCN - Woods
Total Number of BMPs
PE Required (see Note 1)
PE Addressed (see Note 2)
MD 8-Digit HUC (see Note 4)
USGS 12-Digit HUC | Blank - County Use
For Each Practice in the Drainage Area |  | E, S, or A |  | New development (NEWD), Redvelopment (REDE), or Restoration (REST) |  | MDP Code
STORM_ID | STRU_NAME | MDE BMP CLASS | MDE BMP TYPE | CONSTRUCTION PURPOSE | ON or OFF SITE | LAND USE | DEVICE DRAINAGE AREA (acres) | IMPERVIOUS AREA DRAINING TO DEVICE (acres) | IMPERVIOUS ACRES RESTORED (See Note 3) | MD NORTH COORD (NAD83 - FT) | MD EAST COORD (NAD83 - FT) | WQV (ac-ft) (See Note 5)
Blank - County Use
NOTES
1 - | Rainfall target (from Table 5.3, Design Manual pp.5.21-22) used to determine ESD goals and size practices (for new development or redevelopment). If practice is for restoration, then PE_REQ is 1inch.
2 - | Rainfall addressed (using both ESD techniques and practices, and structural practices) by the BMPs within the drainage area
3 - | Equals Impervious Area Draining to Device when PE_ADR = 1 inch (for restoration only)
4 - | Maryland 8-Digit HUC (Hydrologic Unit Code) can be found by using the map at: |  |  |  | https://data.maryland.gov/Energy-and-Environment/Maryland-s-8-Digit-Sub-Watersheds/e9j9-vuxg
5 - | Water Quality volume, the smaller of the volume of the actual storage volume in the device or the volume from the 1-year 24-hour storm for the drainage area to the device ((2.7" x Rv x A)/12)

## MDE BMP Class
Source: | Accounting for Stormwater Wasteload Allocations and Impervious Acres Treated
Guidance for National Pollutant Discharge Eliminatin System Stormwater Permits
August 2014. Maryland Department of the Environment
MDE Approved BMP Classifications
Category | Code | Code Description
ESD BMPs
Alternative Surfaces (A)
E | AGRE | Green Roof - Extensive
E | AGRI | Green Roof - Intensive
E | APRP | Permeable Pavements
E | ARTF | Reinforced Turf
Nonstructural Techniques (N)
E | NDRR | Disconnection of Rooftop Runoff
E | NDNR | Disconnection of Non-Rooftop Runoff
E | NSCA | Sheetflow to Conservation Areas
Micro-Scale Practices (M)
E | MRWH | Rainwater Harversting
E | MSGW | Submerged Gravel Wetlands
E | MILS | Landscape Infiltration
E | MIBR | Infiltration Berms
E | MIDW | Dry Wells
E | MMBR | Micro-Bioretention
E | MRNG | Rain Gardens
E | MSWG | Grass Swale
E | MSWW | Wet Swale
E | MSWB | Bio-Swale
E | MENF | Enhanced Filters
Structural BMPs
Ponds (P)
S | PWED | Extended Detention Structure, Wet
S | PWET | Retention Pond (Wet Pond)
S | PMPS | Multiple Pond System
S | PPKT | Pocket Pond
S | PMED | Micropool Extended Detention Pond
Wetlands (W)
S | WSHW | Shallow Marsh
S | WEDW | ED - Wetland
S | WPWS | Wet Pond - Wetland
S | WPKT | Pocket Wetland
Infiltration (I)
S | IBAS | Infiltration Basin
S | ITRN | Infiltration Trench
Filtering Systems (F)
S | FBIO | Bioretention
S | FSND | Sand Filter
S | FUND | Underground Filter
S | FPER | Perimeter (Sand) Filter
S | FORG | Organic Filter (Peat Filter
S | FBIO | Bioretention
Open Channels (O)
S | ODSW | Dry Swale
S | OWSW | Wet Swale
Other Practrices (X)
S | XDPD | Detention Structure (Dry Pond)
S | XDED | Extended Detention Structure, Dry
S | XFLD | Flood Management Area
S | XOGS | Oil Grit Separator
S | XOTH | Other
MDE Approved Alternative BMP Classifications
Category | Code | Code Description
Alt. BMPs (A)
A | MSS | Mechanical Street Sweeping
A | VSS | Regenerative/Vacuum Street Sweeping
A | IMPP | Impervious Surface Elimination (to pervious)
A | IMPF | Impervious Surface Elimination (to forest)
A | FPU | Planting Trees or Forestation on Pervious Urban
A | CBC | Catch Basin Cleaning
A | SDV | Storm Drain Vacuuming
A | STRE | Stream Restoration
A | OUT | Outfall Stabilization
A | SPSC | Regenerative Step Pool Conveyance
A | SHST | Shoreline Management
A | SEPP | Septic Pumping
A | SEPD | Septici Denitrification
A | SEPC | Septic Connections to WWTP